Technical specifications

SRM-1056 LabeOhm EVO Surface Resistivity Tester

- Range: from 10^4 to 10^12 Ω

- Test voltage: 10V R<100KΩ, 100V R>100KΩ

- Electrodes: conductive rubber

- Dimensions: 80x120x27 mm

- ISO9000 Traceable Certificate is supplied

Please contact us for more info.