Technical specifications

MetraCell BT Pro Mobile Battery Tester

Measured Quantities

Block voltage:

- ± 2.45 VDC at a resolution of 0.00001 V

- ± 24.5 VDC at resolution 0.0001

Overall voltage:

- ± 600 VDC at resolution 0.001 V

- ± 300 VAC at resolution 0.01 V

- Resistance: 1000 mΩ at resolution 10 μΩ

- Temperature (optional sensor)

- Current (optional sensor)

- electrolyte density (via DMA 35 from Anton Paar)

Hardware

- connecting sockets:

- Force for 2-wire measurements

- Sense for 4-wire measurements

- Bluetooth interface

- RFID Scanner

- Infrared interface for - for example - acid density meter

- Rubber holster

Accessory (included)

- 2 x Kelvin probes

- Multimeter probes

- 2 x alligator clamps

- Mains adaptor

- 4 x batteries (rechargeable)

- Carrying strap

Software (included in delivery)

- Graphical display of the measured values

- Comparative display of the measured values (block and time-related)

- In- and readout of data possible

- Creation of protocols possible

Accessory (optional)

- Current clamp CP 1800

- Temperature sensor METRATHERM 2