Technical specifications

DT 5300B Earth Ground Resistance Testers

| Specifications |
| --- |
| Function | Range | Max Resolution | Accuracy |
| Earth resistance | 10Ω 100Ω 1000Ω | 0.01Ω 0.1Ω 1Ω | ±2%rdg ±0.1Ω ±2%rdg ±3dgts ±2%rdg ±3dgts |
| Voltage AC | 750V | 1V | ±1.2%rdg ±10dgts |
| Voltage DC | 1000V | 1V | ±0.8%rdg ±3dgts |
| Resistance | 200kΩ | 0.1kΩ | ±1.0%rdg ±2dgts |
| Continuity Test | Active Sound Level: ≤40Ω, Test current ≤200mA |
| Operating Temp | 0ºC~40ºC (<80%R.H.) |
| Storage Temp | -10ºC~60ºC (<70%R.H.) |
| Power Source | 1.5V “AA” battery x 6 |