Technical specifications

DT 9052 Earth and Continuity Tester

| Specifications |
| --- |
| Accuracy | +/-(3%+1dgt)for pure resistance(range 0-2000Ω at 23ºC+/-5ºC) |
| Operating voltage | 230V(Ph/N)-10/+6% |
| Operating frequency | 50/60Hz |
| Weight | 340g |
| Size | 210 x 72 x 50mm |