Technical specifications

DT-870Y Thermal Imager

80x80 pixel thermal imaging system.

6400 points real temperature fast measurements

Hot,Cold,Center three temperature tracking function.

Large, easy-to-read, bright graphical TFT display

50Hz fast Thermal image frame rate

Bluetooth image instant share & save with iOS and Android Smart device

Scene temperature range Lock function.

With LED flashlight function

Long running time up to 8 hours with rechargeable battery.

Smart and compact design

Rugged industrial design