Technical specifications

CEM DT-131 Contact Thermometer

Easy to use: Remove the protective sheath, press the ON/OFF button and insert into the testing area.

LCD screen shows readings in Fahrenheit or Celsius

Range: -40° to +200° C