Technical specifications

CEM DT-2G Microwave Leakage Detector

Alarm sounds and red LED light flashes when microwave leakage is detected.

Large clear backlit LCD display for easy reading.

Microwave leakage detection 0 to 0.99mW/cm2.

Alarm level at 5.0mW/cm2.

Leakage volume displayed in mW/cm2 with 0.01 resolution.

Measures 160 x 160 x 42mm.

Weight 150g.