Technical specifications

CEM DT-3316 AC/DC Clamp Meters

Current: 2000 A AC/DC

Voltage: 1000 V AC/DC

Resistance: 40MΩ

Frequency: 10MHz

Capacitance: 40mF

Continuity buzzer & Diode check