Technical specifications

CEM DT-9880 Particule Counter

Specifications:

| Particle Counter |
| --- |
| Channel | 0.3, 0.5, 1.0, 2.5, 5.0, 10μm |
| Flow Rate | 0.1ft3(2.83L/min) controlled by internal pump |
| Count Modes | Totalize, Concentration, Audio |
| Coincidence Loss | 5%, 2000000 particles per ft3 |
| Air Temperature Measure |
| Air Temp Range | 0 to 50ºC/32 to 122ºF; |
| Humidity Range | 0 to 100%RH; |
| Dew Point Temp. Range | -30~100ºC/ -22~199ºF |
| Wet Bulb Temp. Range | 0~80ºC/ 32~176ºF |