Technical specifications

CEM DT-3363 AC/DC Clamp Meters

Current: 1000 A AC/DC

Voltage: 600 V AC/DC

Resistance: 60MΩ

Frequency: 10MHz

Capacitance: 4000 µF

Temperature: 1000ºC / 1832ºF

Continuity buzzer & Diode check