Technical specifications

DT-805 Sound Level Meter

Provides 1.4dB accuracy

Meets IEC61672-1 Type 2

Newly Design Shape

High Performance

Max Hold and Data Hold Function