Technical specifications

CEM DT-8852 Sound Level Meter

This unit confirms to the IEC61672-1 class 2 for Sound Level Meters

MAX & MIN measurements

Overrange display

Underrange display

A & C Weighting

FAST & SLOW response

Analog AC/DC outputs for connection to frequency analyzer or X-Y shaft recorder

Datalogger function

Adjustable Alarm-Levels

Memory for 32700 readings