Technical specifications

CEM DT-5500 Insulation Tester (1kV)

1mA test current for MegOhm range at rated voltage

200mA short current for continuity range

Meets IEC10101, CATIII 1000V

Large dual display with backlight

Test hold function for easy operation

Easy to carry testing package

Over range Indication

Low Battery Indication