Technical specifications

CEM DT-3355 Earth Ground Clamp Meter

Range Shift: Automatic

External Magnetic Field: 40A/m

External Electric Field: 1V/m

Single Measuring Time: 1 second

Measurement Resistance Frequency: 1kHz

Maximum Resistance Measurement Resolution: 0.001 Ω

Resistance Measurement Range: 0.01-1000 Ω