Technical specifications

CEM DT-9809 AC Leakage Current Tester

10uA high resolution

Large 33/4 (4000 counts) LCD display

Auto Power Off

Shielded transformer jaw opens to 1.2"

Max/Min, Data Hold, Low battery indication

Overload protection

Size (H x W x D): 209mm x 43mm x 30mm

Weight: 200g