Technical specifications

1000A AC/DC Power Quality True RMS Clamp Meter

Features

- True RMS

- Non-contact voltage detection

- Inrush current measurement for motors

- Low pass filter for variable frequency drives

- Continuity Beeper

- Min, Max and Smart Data Hold, Peak hold

- Auto torch-light when clamping

- Large 10,00 count display with active backlight and analog bar graph

- Auto Power Off

- Maximum jaw opening 1.63" (42mm)

- CAT IV 600 V /CAT III 1000 V safety standard

- Size(HxWxD): 230mm x 76mm x 40mm

- Weight: 315g