Technical specifications

CEM DT-926A TRMS Digital Multimeter

General Features

- 2.000 digit large LCD display

- TRMS measurement feature

- Manual range selection

- Diode and continuity test

- auto shut off

- Data hold feature

- 1.5V and 9V battery test

- Protection feature in all ranges

- 2 meters drop test

Technical specifications

- AC/DC Voltage: 600V

- AC/DC Current: 10A

- Resistance: 2MOhm

- Dimensions: 151 x 75 x 45 mm

- Weight: 255g.

Please look the file section for more technical info.