Technical specifications

CEM DT-960 TRMS Digital Multimeter

General Features

- 4,000 digit large LCD display

- TRMS measurement feature

- Safe and robust design

- Automatic range selection

- Data hold, Max and Min feature

- Flashlight and screen lighting feature

- auto shut off

- Diode and continuity test

Technical Specifications

- AC/DC Voltage: 600V

- AC/DC Current: 10A

- Resistance: 40MOhm

- Capacitance: 4000µF

- Frequency: 10kHz

- Duty cycle: 99.9%

Please look the file section for more technical info.