Technical specifications

SECULIFE DF PRO Multimode Defibrillator Analyzer

for more technical info, please look the file section.

Technical characteristics

- Biphasic energy measurement

- Easy operation

- Fully AED-compatible

- Monitor display of defibrillator waveforms

- Dropdown selection screens for all parameter options

- 12-channel EKG simulation

- Capacity: 5000 V, 1000 joule

- Cardioversion delay measurement

- 26 selectable internal loads

- Complete pulse analysis

- Power demand sensitivity test

- Refractory period tests

- 50/60 Hz interference test signals

- Defibrillator protection for pacemaker input

- Memory for 50 individualized test sequences