Technical specifications

DT-613 Thermocouple Thermometer

3-1/2 Digits Backlit LCD Display

9V Battery Operated

User Selectable °C/°F/K scales

Type K input thermometers

dual input

Differential Temperature T1-T2 can be measured

Electronic Offset function allows compensation of thermocouple errors to maximise overall accuracy.

Auto Power Off Mode

Max Hold and Data Hold