Technical specifications

CEM DT-901 Phase Rotation Indicator

Features

- Nominal voltage: 40V to 690V AC

- Frequency range: 15 to 400Hz

- Current pickup: 1mA

- Nominal test current(per phase): 1mA

- Power supply: From unit under test

- Electrical safety: IEC61010/EN61010;IEC61557-7/EN61557-7

- Protection level: CATIII 600V

- Type of protection: IP40

- Operating temperature: 0ºC to 40ºC