Technical specifications

Seculife SP Base Digital SpO2 Simulator

Product Highlights

- Small, portable, lightweight, rugged

- Intuitive user interface

- Color touchscreen

- Operation in preset or manual mode

- 6 oxygen saturation levels from 80 to 99%

- Heart rates from 30 to 240 BPM

- Adjustable perfusion index

- Pulse synchronized with instruments from the SECULIFE PS 100-300 and SECULIFE BP PRO series

Please look the file section for more info.