Technical specifications

CEM DT-5302 Milliohmmeter and Multimeter

DMM with Kelvin(4-wire)small resistance measurement

Four terminal Kelvin measurement

4000 counts 33/4 digital LCD display with backlit

High resolution to 0.1mΩ with test current to 200mA

Low battery indication

Over load protection on all ranges

Features

- High accuracy, high resolution portable Milliohm Meter or field use

- Digital display 4000 counts

- Safety design

- Relative zero & Data Hold

- MAX/MIN recording mode

- Auto Power Off

- 400mΩ Low Resistance & Wide 40mF capacitance range

- Diode Check & Continuity Test

Please look the file section for more technical info.