Technical specifications

DT-5554 RCD Tester

- Nominal test current: 10/30/100/500mA/1A

- Current selection: 0.5x, 1x, 2x, 5x nominal current

- Trip time: 10-2000 ms at 0.5x, 10-500 ms at 1x, 10-150 ms at 2x, 10-40 ms at 5x

- Ramp test: 0.4x to 1.4 times nominal rated current