Technical specifications

CEM DT-836 Professional IR Thermometer

-150ms faster sampling time with 1% accuracy

-Dust and water-proof: IP54 rated for dust/water proof

-Rugged: 3 m (9.8 ft) drop tested

-Ergonomically designed: Completely redesigned for a more natural hand fit

-Distance to spot: Precise laser technology makes for more accurate and repeatable measurements

-Alarm: Hi and Lo temp. alarms for rapid display of measurements outside the limits

-Accurate readings for infrared temperature