Technical specifications

HT-C640 Outdoor Thermal Binocular (640x512)

- Detector type  Vanadium oxide uncooled infrared focal plane

- Resolution: 640x512

- Pixel size: 12μm

- Field of view angle: 8.8°x7.0°

- Working band: 8 - 14um

- NETD: <50mk@25℃，@f/1.0

- Focal length: 50mm

- Frame rate: ≤50Hz

- Focusing method: Automatic focusing

- Display resolution: 1024x768

- Display size: 0.39 inches

- Display mode: Infrared / Luminous / Double Light Fusion / Picture in Picture

- Electronic doubling: 1X /2X /4X

- Palette: Rainbow, Iron Red, Cold, White Hot, Black Hot

- WIFI: 2.4G image transmission

- Capacity: Built-in 16G eMMC

- Photo, video: Support

- Image / Video Format: JPG/MP4

- Detachable rechargeable lithium battery: 2000mAhx4 ( battery model 18650 )

- Power consumption: ≤6W

- Endurance time: ≥ 6 hours

- Working temperature: -20 °C to + 50 °C

- Storage temperature: -30 °C to + 70 °C

- Protection level: IP54

- Appearance size: 193.1mmx176.8mmx99mm

- Weight: 1.5kg ( including battery )