Technical specifications

AT-47xxV Multi-Channel Temperature Datalogger

Specifications

- Graduation: Thermocouple:J/K/T/E/S/N/B/R,PT100,CU50

- Accuracy: 0.2%+1℃

- Range: -200℃~1800℃ (variation depend on graduation)

- Resolution: 0.1℃

- Channels: 8-64 channels;

- Correction: Error correction for each channel

- Comparator: high & low beep function for each channel

- Interface: RS232C, U-disc, USB

- Software: ATS45 data acquisition software

- Cold Junction: Accuracy: 0.5℃

- Other Functions: TFT-LCD True color display, broken thermocouple check function

- Power Supply: V: 85VAC～260VAC Fre：50Hz/60Hz Power：10VA

- Dimension & Weight: 216x88x300mm weight：3kg

- Accessories: K thermocouple 8-64 channels (2 meters/ channel)