Technical specifications

Mavo-Monitor USB Luminance Meter

Technical Data

- Illuminance [Lux]: 0.01 cd/m² - 19 990 cd/m² (0.001 fL - 1999 fL)

- Measuring ranges: 4

- Measuring range change: Automatic / Manual

- Measuring rate: 2 per second

- Measuring method: contact measurements

- Measuring sensor: silicon photo diode with V (λ) filter

- Measured value memory: 100 measurement values

- Error limit – V(λ) adapted (f1‘), typical: < 3 %

- Error limit – overall error, typical: ≤ 8 %

- Error – V(λ)-Matching (f1‘) typical: < 3 %

- Accuracy: ± 2.5 % of reading ± 2 digit

for more please look the file section.