Technical specifications

DT-9987 Professional T-RMS Industrial Multimeter

Specification

- True RMS Measurements: AC, AC+DC

- Bandwidth (Voltage/ Current): 100kHz/100kHz

- Digital Display Counts (default/Selectable): 50,000 / 5,000

- Display: 320 x 240 pixels, Color LCD

- Logging Function with Trend Capture

- Records Events and Trends

- Internal Memory: 200Hours Continuous Recording

- Saves Measurements: 10,000 Data

- Bluetooth PC Communication interface for easy data transfer and accuracy calibration

- 4-20mA process loop measurements with % reading

- dB measurements

- Low input impedance function (LoZ): 50W

- Motor winding and low ohm measurement range

- Low pass filter

- Field upgradeable/expandable meter

- Navigation keys

- F1-F4 soft keys/user function menus

- Multilingual interface

- Saves preferred measurement setups

- Current measurement: 20 A (30 seconds momentary; 10 A continuous)

- Peak capture (records transients as fast as 250 μs)

- Continuity measurement

- Li-ion Re-chargeable Batteries

- Min/Max/Average with Time Stamp (records signal fluctuations)

- Diode & Continuity Check

- Meterbox iMM and Cloud Service

- IP Rating 67

For more info please look the file section.