Technical specifications

MST-8103 Programmable Electrical Safety Tester

Technical Specifications

- AC voltage test range: 0.050 - 5.000 kV

- DC voltage test range: 0.050 - 6.000 kV

- Insulation test range: 0.050 - 1.000 kV

- Test time setting: 0.1 - 999.9 s

- Device protocol: SCPI and Modbus

for more info please look the file section.