Technical specifications

Matrix MDM-8155A Bench Type Multimeter (5.5 Digit)

Technical Specifications

- DC Voltage Range: 1uV - 1000V

- AC Voltage Range: 1uV - 750V

- DC Current Range: 0.001uA - 10A

- AC Current Range: 0.001uA - 10A

- Resistance Range: 0.001Ω - 22MΩ

- Capacitance Range: 0.001nF - 2.200mF

- Frequency Range: 0.001Hz - 22MHz

- Device Weight: 2.6 kg

- Dimensions: 265 x 105 x 305 mm

for more info please look the file section.