Technical specifications

Matrix MDM-202 Digital TRMS Multimeter

General Features

- True RMS feature

- NCV non-contact voltage detector

- Double layer outer protection cover

- 5,999 digits large LCD display with backlight

- Flashlight feature on the top of the device

Technical Specifications

- Voltage: 600V AC/DC

- Current: 10A AC/DC

- Resistance: 60 MΩ

- Capacitance: 60,000µF

- Frequency: 10-10MHz

- Diode and continuity test

- VFC measurement mode

- Data hold feature

- auto shut off

- Sampling rate: 3 times per second

- Battery: 2 x AAA

- Weighs about 200gr

- Dimensions: 105 x 45 x 70 mm