Technical specifications

CEM DT-93HW Mini Hot Wire Anemometer

Specifications

- Air Velocity Measurement: 0.00 to 30.00m/s

- Temperature Measurement: 0 to 50°C / 32 to 122°F