Technical specifications

FF 1.6A (1000V) Ceramic Fuse

SIBA FF 1.6A (1000V) Ceramic Fuse

Brand: SIBA

Current rating: 1.6 A

Fuse size: 6.3 mm x 32 mm

Fuse speed: FF

Voltage rating: 1000 V AC/DC

Body material: Ceramic

70 172 40 SIBA FF 1.6A 1kV ceramic fuse

Please look the file section for more info.