Technical specifications

DT-93 HCHO & TVOC Meter

Specifications:

- HCHO: 0.00 to 5.00mg/m3

- TVOC: 0.00 to 9.99mg/m3

- Bluetooth interface for easy data transfer