Technical specifications

Metraline Earth Earthing Resistance Meter

Technical characteristics

- 3/4-wire measurement • Earth resistance according to Wenner

- Low-resistance measurement with 200 mA

- Data management, storage of 1000 measured values

- Documentation software

- USB interface, IP 40, CAT III 600 V / CAT IV 300 V