Technical specifications

Temperature and Humidity DryLogger (External Detector)

| Temperature | -20°C to +60°C |
| --- | --- |
| Resolution | 0.1°C |
| Accuracy | +/- 1°C |
| Humidity | 1 to 95%RH |
| Resolution | 0.1%RH |
| Accuracy | +/- 2%RH (at 25°C, 10%RH~90%RH) +/- 3%RH (at 25°C, 1%RH~10%RH, 90%RH~95%RH) |
| Display Size | 48 x 11 mm |
| Temperature Alarm | from 0 to 60°C |
| Humidity Alarm | from 1 to 95% |
| Alarm Activation Delay | from 1 to 99 minutes |
| Memory | 21600 samples |
| Sampling Rates | can be set at 1, 5, 10, 15, 30 seconds and 1, 5, 10, 15, 30 minutes |
| Interface | RS232 e USB |
| Size | 184 x 67 x 44mm |