Technical specifications

MetraMax 2 Analog Multimeter

Technical characteristics

- Voltage measurement: 0-300 V AC and DC

- Current measurement: 0-3 A AC and DC

- Zero point: left / center

- Accuracy: 2 = / 3 ~

- Dimensions: 100 x 140 x 35 mm

- Weight: approx. 0.3 kg with battery

- Battery: 9 V flat cell battery, IEC 6 LR 61 (6 F 22)

Please look the file section for more technical info.