Technical specifications

HTI HT-C19 Thermal Monocular (640x512)

Technical Specifications

- Detector Type: Vanadium oxide uncooled infrared focal plane

- Thermal Resolution: 640 x 512

- Pixel Size: 12μm

- Lens Options: 25, 35, 54 or 75 mm

- NETD: ≤ 40mk@25℃, @F/1.0

- Focusing: Manual

- Display: OLED

- Screen Resolution: 1440 x 1080

- Digital Zoom: 1x, 2x, 4x and 8x

- Color Palettes: White hot, black hot, red hot, rainbow, iron red and cool colors

- Hot Spot Tracking: Yes

- Picture in Picture: Yes

- Memory: 16GB

- Photo Recording: Yes (JPG)

- Video Recording: Yes (MP4)

- Interface: USB

- Battery: 2 pcs 1400mAh rechargeable

- Usage Time: More than 5 hours on a full charge

- Operating Temperature: -20°C to +60°C

- Storage Temperature: -30°C to +70°C

- External Protection: IP66 (protected against water and dust)

- Dimensions: 198 x 57.5 x 64.3 mm

- Weight: 580 grams

Please look file section for more info.