Technical specifications

IP-200 - 200MHz Oscilloscope Probe (x10)

General features

- Bandwidth: 200MHz

- Reduction: 10x

- Max input voltage: 150V (x1) and 300Vrms (x10)

- Input resistance: 1MΩ (x1) and 10MΩ (x10)

- Input capacitance: 105pF (x1) and 15pF (x10)

- Cable length: 1.2m

For more detailed information and other variants please see the files tab.