Technical specifications

CEM DAG-20 Digital Angle Gauge and Level

Technical Specifications

- Measuring range: 0-90° and 0-180°

- Accuracy: Vertical and Horizontal Orientation, ±0.2°

- Spirit level Orientation: ±0.5°

- Resolution: 0.1°

- Operating temperature and humidity: 0-50° - <85% RH

- Dimensions: 120 x 61 x 35 mm