Technical specifications

CEM DT-320 TRMS 3000A AC Flexible Clamp Meter

Technical Specifications

- Current: 0 - 3000A

- Resulation: Max 0.01A

- Doğruluk: ± (3.0% + 5d) (best)

- Freq: 50 - 400 Hz TRMS

- Dimensions: 180 x 106 x 28 mm

- Weight: 200 grams

Please look the file section for more technical info.