Technical specifications

CEM DT-3891G Temperature Datalogger (4 Channel)

Technical Specifications

- Type K temperature range: -200°C to 1372°C

- Type J temperature range: -210°C to 1100°C

- Basic accuracy: ±0.15%rdg +1ºC

- Dimensions: 160 x 58 x 27mm

- Weight: 350 grams

Please look the file section for more technical info.