Product Descriptions

WST 2350 Wrist Strap and Footwear Tester

Wrist Strap & Footwear Tester:

Wall mountable with stainless steel footplate

0.75 to 35 Meg Ohm range - system test of strap / coil cord or footwear /person

Red low fail neon

Green pass neon

Red high fail neon

Accepts 4mm jack plug & 10mm snap / footwear

Requires 9V battery (included)

Meets IEC 61340-5-1 & S20.20

Product Code: WST-2350