Product Descriptions

EFM 51 Electrostatic Field Meter

Handheld, portable, digital electrostatic field meter, detects and measures electrostatic fields.

The electrostatic field strength value (V/m) will be automatically translated to the electrostatic potential (V) according to the preset distance. An additional field strength mode is also available.

- Test method: Rotating chopper

- Test range: 0 V - 200 kV distance mode, 0 - 1MV/m Field strength mode

- Display: LCD display

- Operation: Battery operated

- Includes: Carrying bag, ground cord, German and English user's manual and calibration certificate

Product Code: EFM-51