Product Descriptions

MetraHit Outdoor Digital Multimeter

TRMS SYSTEM Multimeter, Extremely Rugged, Impact-Resistant, Water-Proof and Dust-Proof, and is Resistant to Extreme Temperatures

The OUTDOOR multimeter has been specially designed and manufactured to meet the challenges faced by engineers and technicians in adverse environments. It´s extremely rugged, impact-resistant, water-proof and dust-proof, and is resistant to extreme temperatures.

Technology and scope of functions are the same as with the METRAHIt X-TRA.

Resolution: ± 12,000 digits, 4½-place

3 connector jacks with patented automatic blocking sockets (ABS)

TRMS AC and AC / DC function

Voltage measurement with a basic accuracy­ of ±0.05% (V DC)

Automatic and manual measuring range selection

Automatic storage of measured values: DATA / MIN / MAX

Large, light-blue illuminated display with extra-large characters (15 mm) and an analog bar graph for dynamic processes

Separate battery and fuse compartments

IP 52 protection against dust and water

Measuring categories: 1000 V CAT III and 600 V CAT IV

Made in Germany

DAkkS calibration certificate included

23 multimeter functions

Voltage ACTRMS, voltage AC+DC TRMS,voltage DC, frequency (Hz, MHz), duty cycle, resistance, diode test, continuity test, capacitance, current ACTRMS, current AC+DC TRMS, temperature with Pt 100/1000 sensors and type K thermocouples

Auto-range current measurement from 100 μA (resolution: 10 nA) to10 A (16 A) via a single connector jack and a single fuse

Additional filter function and voltage measurement with reduced input­ impedance for limiting interference, e.g. for measurements at frequency­ converters

540 kB data memory (15,400 measured values) for long-term measurements with data logger function

Power pack connector socket for operation without batteries

Infrared interface for communication with the PC

Rubber holster safeguards against shocks and impacts

Specific features of the OUTDOOR multimeter:

Special rugged design with shock and impact resistant housing, and additional rubber holster

Special "sand" color

Dust-proof: IP 6x

Water jets: IP x5

Patented, sealed blocking sockets

Product Code: M2400