Product Descriptions

SSP Series Programable Power Supplies

KONSTANTER SSP-120, 240 and 320 (Single-Output System Power Supplies) are single output, programable and computer controlled laboratory power supplies for universal use in R&D, production and testing.

Our innovative BET circuit technology (bidirectional energy transformation) allows for practically load independent response times of less than 1 ms (< 4 ms for 80 V device).

The analog interface provides for monitor, auxiliary power and programmable signal outputs, as well as programmable trigger and setpoint inputs.

- Wide range of functions

- Comprehensive calibration report

- Minimal power loss

- Auto-ranging output with 120, 240 or 320 W

- Voltage and current regulated output

- Increased output power for brief intermittent periods

- Very short response time thanks to BET technology

- Dynamic sink mode operation

- Excellent dynamic control parameters

- Minimal residual ripple

- Output ON/OFF function

- Lockable control elements

- Master-slave operation with parallel or series connection

- Sequence controls for the generation of voltage and current sequences

- Protection against overvoltage, overcurrent and excessive temperature

- Calibration procedure for menu-driven balancing

- RS 232 interface (complete device operation) / analog interface

- Floating output terminals at front and rear panel

- Can be electrically and mechanically combined with multi-output devices

Options:

IEEE 488 interface

Driver software for LabVIEW, LabWindows and HP VEE

Product Code: K320A /K321A / K322A / K330A / K331A / K332A / K334A