Product Descriptions

Metraline RCD-Check, RCD Test Instrument

Measuring instrument which checks the qualities of a FI switch.

It is all about the measuring of the contact voltage in particular, determing time and tripping current of RCD types A, AC, S and F.

Features

Digital display, backlit color OLED display

LED for measurement point illumination

Patented means of securing the test probes

Compact and rugged - for service calls and laboratory use

Testing features

Testing of residual current devices (RCDs)

Measurement of touch voltage without tripping the RCCB.

Contact voltage is measured with reference to nominal residual current using 1/3 of the nominal residual current value.

Tripping test with nom. residual current, time to trip measurement

Special tests for equipment and RCDs

Testing of equipment and RCDs with rising residual current including indication of tripping current

Testing of RCDs, IΔN = 10, 30, 100, 300 and 500 mA

Testing RCDs with 1/2 IΔN, 1 IΔN, 2 IΔN, 5 IΔN up 100 mA nominal current)

Testing RCDs with half-waves (pulsating direct current) for determining time to trip and tripping current

Testing of special RCDs

selective S, type AC, type A

Measurement of line voltage and fault loop impedance

Product Code: M507B