Product Descriptions

AT-2816A / AT-2816B LCR Meter

The AT2816 Series is the use of a high-performance processors and 3.5" TFT LCD screen smart LCR Meter. Since the SMD technology makes AT2816 portability. We rely on highly skilled technical, so that the instrument even more outstanding performance.

AT2816A offers wide frequency range (50Hz~200kHz 0.001Hz Step), AT2816B offers wide frequency range (50Hz~200kHz 33 points), programmable signal level (0.01V to 2.00V), auto range with 9 ranges, 30Ω/50Ω/100Ω constant output impedance and easy-to-use operation system.

Built-in RS232C and handler interfaces help build an automatic component test system, communicate with the computer and analysis the test results.