Product Descriptions

SRM-1056 LabeOhm EVO Surface Resistivity Tester

the Labeohm EVO are instruments that measure the surface resistance and the ground resistance of mats, worktops, floorings and other objects in the EPA area.

The embedded probes are suitable for surface resistance measure, connecting one ground cord the resistance to ground can be read, and two external probes can be connected for point to point measurements.

Both instruments are pocket-size and use 2 embedded parallel electrodes, in accordance with DIN EN 100015/1.

- Range: from 10^4 to 10^12 Ω

- Test voltage: 10V R<100KΩ, 100V R>100KΩ

- Electrodes: conductive rubber

- Dimensions: 80x120x27 mm

- ISO9000 Traceable Certificate is supplied

Product Code: SRM-1056